| Parking Lot Safety/Security Checklist Suggested minimum frequency once per year/ per complex |
| --- |
| Municipality: | Inspection Date: / 201 |
| Name of Inspector: | Title: |
| Location Surveyed: |

If own more than one, each is uniquely identified

| # | Needs work | OK | N/A | Item Write line # & comments on back for each needs work item |
| --- | --- | --- | --- | --- |

Parking lot entrances   □ No gates at this location: skip lines 1-4

|  |  |  |  | Are any lot closure devices, (gates, semaphores) visible |
| --- | --- | --- | --- | --- |
|  |  |  |  | Do auto open gates operate smoothly? Card access? |
|  |  |  |  | Do gates open automatically when approached for exit? |
|  |  |  |  | Do gates open automatically upon power failure or alarm? |

Parking lot markings and surface conditions

|  |  |  |  | Are mirrors or STOP signs posted at blind spots? |
| --- | --- | --- | --- | --- |
|  |  |  |  | Are directional signs posted, are they legible? |
|  |  |  |  | Is the lot paved? Are lines & directional arrows legible? |
|  |  |  |  | Vegetation trimmed away from walkways & entrances? |
|  |  |  |  | Any tripping hazards? Curbs? Holes? Debris? |
|  |  |  |  | Are parking spaces designated? Single line or double line? |
|  |  |  |  | Are there designated pedestrian walkways? Should there be? Y N |
|  |  |  |  | Designated handicapped parking spots? Should there be? |
|  |  |  |  | ADA compliant: 8 foot wide with 5 foot access aisle? Signage? |
|  |  |  |  | Are ramp slopes of 1:15 minimum to 1:12 maximum provided? |
|  |  |  |  | Are "slip-resistant" surfaces provided on ramps? Island tops? |
|  |  |  |  | Lot bumpers secured? Less than 6.5 in high? Easily identified? |
|  |  |  |  | Areas designated for bicycles or motorcycles? Should there be? |

Drainage facilities

|  |  |  |  | Are storm water control systems in place? |
| --- | --- | --- | --- | --- |
|  |  |  |  | Are inlet grates clear of debris? Marked No Dumping? Y N |
|  |  |  |  | Do drain covers provide adequate heel catch guarding |
|  |  |  |  | Any accumulation of standing water, snow, debris etc.? |
|  |  |  |  | Are lots plowed as needed and salted or sanded? |

Security

|  |  |  |  | Is the lot enclosed by a fence? Is it maintained? Bollards? |
| --- | --- | --- | --- | --- |
|  |  |  |  | Are lots routinely patrolled? Escort to cars provided? |
|  |  |  |  | Does the lot have lighting for nighttime operations? |
|  |  |  |  | Inspect light poles for cracking at the steel base plate? |
|  |  |  |  | Any of the lights non-functioning? Dark areas? (check after dark) |
|  |  |  |  | Is the lot monitored by Closed Circuit TV cameras? |
|  |  |  |  | Are their emergency call boxes? Should there be? Y N |